CHIPINGE RURAL DISTRICT COUNCIL

Request for Quotation.

Introduction

CHIPINGE RURAL DISTRICT COUNCIL urgently requests quotations for the following:

| REQ | DESCRIPTION OF GOODS | Quantity |
| --- | --- | --- |
|  | Supply, design, and Installation of Solar Powered water reticulation at Maunganidze Growth Point | 1 |
|  | Scope of Work - See Annexure I |  |
|  | Mandatory Site Visit Monday, 16 June 2025, Time 1430hrs. Place: New Maunganidze Growth Point Residential area opposite - Intersection Mutare-Masvingo Road and Chipinge Turn-Off Road on the Construction Site |  |

If interested, you are invited to submit a comprehensive quotation for the same,

Your quote must include the following:

- Currency of Quotations: USD payable in USD.

- Payment after delivery.

- Delivery lead time 4 weeks (This is of paramount importance).

- Quotation Validity: 30 working days (min)

- Valid Tax Clearance Certificate

- Proof of PRAZ Registration

- NSSA Compliance Certificate

- Site Visit Certificate

Your quotation must be addressed to -.

The Chief Executive Officer

Chipinge Rural District Council

Council Headquarters

858 E. Mnangagwa Street

CHIPINGE

procurement@chipingerdc.gov.zw/info@chipingerdc.gov

Quotations must be received no later than Wednesday, 18 June 2025, 1000hrs.

ANNEXURE I

| Item | Scope of Work Description | Unit | Qty |
| --- | --- | --- | --- |
| 1 | Design And Construct of Photovoltaic Solar Panels and Related Accessories. To Include Required Materials, Equipment and Skilled Labour for Installing the Solar Power System Related At 2kw Comprising Built-In Mppt, Built In Fuse Box, Mono Crytalline Solar Panels 5m High Solar Racks Smart Vsd, Regulator Connection Cables, Sockets |  |  |
| 1.0 | Prepare, Clear and Level Site for Solar Field, Allow for Clearing of Up to Approximately 20sqm As Directed on Site |  | 3.00 |
| 2.0 | Allow For Design and Construction of 5m High Inclined Galvanized Steel Solar Panels Rustles Fixed Stable Rc Concrete Foundation and Fabricated to Bs950 with Robust Square Tubes and Angle Iron |  | 3.00 |
| 3.0 | Supply And Install 400w Monocrystalline, Pv Solar Panels Modules. All Panels to Be Fixed In Robust Manner to Discourage Easy Dismantling | No | 8-10 |
| 4.0 | Supply And Install 1 No Clear Water Solar Submersible Pump (Cr1 Or Similar Approved) Deliver At Least 2.5l/S Against a Maximum Total Dynamic Head Of 80m |  | 3 |
| 5.0 | Supply And Install Pump Control System Complete with Mppt, Pump Controller, Frequency. Dry Running Sensor, Fillers, Circuit Breaker, Surge Protection. Allow For Secure Storage Against Vandalism and Theft |  | 3 |
| 6.0 | Allow For All Required Types and Sizes of Electrical Cable with All Connection Between Solar Panels, Inverters, Submersible, Pumps, Terminals, Electrical Boxes 4.2 Cores. Ac With All Required Accessories and Pv Panels Connection Box. Earthing And Protection |  | 3 |
| 7.0 | Supply And Installation of 1.8m High 20m X 20m Perimeter Palisade Fence Complete with Razor Wire And 1.0m Wide Gate |  | 3 |
| 8.0 | Supply Hdpe 40mm X300m Class 10 And Fitting from Storage Tank to Water Point |  | 3 |
| 9.0 | Supply Fittings for a existing 10 000l Storage Tank to Water Point |  | 3 |
| 10.0 | Supply 2x 100w Solar Flood Light |  |  |