| # REQUEST FOR QUOTATION FOR THE APPOINTMENT OF A SERVICE PROVIDER FOR THE MAINTENANCE OF A SOLAR PV SYSTEM AT NEDLAC HOUSE. |  |
| --- | --- |
| RFQ NUMBER: | REQ12149 |  |
| RFQ ISSUE DATE: | 25 July 2025 |  |
| CLOSING DATE AND TIME: | 15 Aug 2025 @ 11h00 |  |
| COMPULSORY SITE VISIT | 06 August 2025 at 12h00 – 13h00 |  |
| RFQ VALIDITY PERIOD | 30 Days (COMMENCING FROM RFQ CLOSING DATE) |  |
| DESCRIPTION OF SERVICES | # REQUEST FOR QUOTATION # APPOINTMENT OF A SERVICE PROVIDER FOR THE MAINTENANCE OF A SOLAR PV SYSTEM AT NEDLAC HOUSE. |  |
| SUBMISSION EMAIL ADDRESS | sibongile@nedlac.org.za and copy procurement@nedlac.org.za |  |
| PROCUREMENT ENQUIRIES | Name: Sibongile Pheeha Tel: 0607710835 Email: sibongile@nedlac.org.za |  |

REQUEST FOR QUOTATION

BIDDER NAME:	……………………………………………………………………………………………………………………..

COMPANY REGISTRATION NUMBER:……………………………………………………………………………………..

CSD NUMBER :…………………………………………………………………………………………………………………….…

ADDRESS: 	………………………………………………………………………………………….………………………….

………………………………………………………………………...............................................

……………………………………………………………………………………………………………………..

CONTACT PERSON :	…………………………………………………………………………………………………………

TEL:	………………………………………………………………………………………….....

FAX:	………………………………………………………………………………………….….

E-Mail : ...............................................................................................

Mobile: ……………………………………………………………………………………………..

TOTAL RFQ PRICE R .......................................................(VAT Incl.)

SBD 4

BIDDER’S DISCLOSURE

- PURPOSE OF THE FORM

Any person (natural or juristic) may make an offer or offers in terms of this invitation to bid. In line with the principles of transparency, accountability, impartiality, and ethics as enshrined in the Constitution of the Republic of South Africa and further expressed in various pieces of legislation, it is required for the bidder to make this declaration in respect of the details required hereunder.

Where a person/s are listed in the Register for Tender Defaulters and / or the List of Restricted Suppliers, that person will automatically be disqualified from the bid process.

- Bidder’s declaration

2.1 	Is the bidder, or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise,

employed by the state?						YES/NO

2.1.1	If so, furnish particulars of the names, individual identity numbers, and, if applicable, state employee numbers of sole proprietor/ directors / trustees / shareholders / members/ partners or any person having a controlling interest in the enterprise, in table below.

| Full Name | Identity Number | Name of State institution |
| --- | --- | --- |

2.2	Do you, or any person connected with the bidder, have a relationship with any person who is employed by the procuring institution? YES/NO

2.2.1     If so, furnish particulars:

……………………………………………………………………………………

……………………………………………………………………………………

2.3 	Does the bidder or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise have any interest in any other related enterprise whether or not they are bidding for this contract?				YES/NO

    - If so, furnish particulars:

…………………………………………………………………………….

…………………………………………………………………………….

- DECLARATION

I, the undersigned, (name)……………………………………………………………………. in submitting the accompanying bid, do hereby make the following statements that I certify to be true and complete in every respect:

3.1 	I have read and I understand the contents of this disclosure;

3.2	I understand that the accompanying bid will be disqualified if this disclosure is found not to be true and complete in every respect;

3.3 	The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement or arrangement with any competitor. However, communication between partners in a joint venture or consortium will not be construed as collusive bidding.

3.4 	In addition, there have been no consultations, communications, agreements or arrangements with any competitor regarding the quality, quantity, specifications, prices, including methods, factors or formulas used to calculate prices, market allocation, the intention or decision to submit or not to submit the bid, bidding with the intention not to win the bid and conditions or delivery particulars of the products or services to which this bid invitation relates.

3.4	The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

3.5 	There have been no consultations, communications, agreements or arrangements made by the bidder with any official of the procuring institution in relation to this procurement process prior to and during the bidding process except to provide clarification on the bid submitted where so required by the institution; and the bidder was not involved in the drafting of the specifications or terms of reference for this bid.

  - I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to bids and contracts, bids that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1998 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act No 12 of 2004 or any other applicable legislation.

I CERTIFY THAT THE INFORMATION FURNISHED IN PARAGRAPHS 1, 2 and 3 ABOVE IS CORRECT.

I ACCEPT THAT THE STATE MAY REJECT THE BID OR ACT AGAINST ME IN TERMS OF PARAGRAPH 6 OF PFMA SCM INSTRUCTION 03 OF 2021/22 ON PREVENTING AND COMBATING ABUSE IN THE SUPPLY CHAIN MANAGEMENT SYSTEM SHOULD THIS DECLARATION PROVE TO BE FALSE.

………………………………	 ..……………………………………………

Signature	                          Date

………………………………	………………………………………………

Position 	Name of bidder

# SBD 6.1

PREFERENCE POINTS CLAIM FORM IN TERMS OF THE PREFERENTIAL PROCUREMENT REGULATIONS 2022

This preference form must form part of all tenders invited.  It contains general information and serves as a claim form for preference points for specific goals.

NB:	BEFORE COMPLETING THIS FORM, TENDERERS MUST STUDY THE GENERAL CONDITIONS, DEFINITIONS AND DIRECTIVES APPLICABLE IN RESPECT OF THE TENDER AND PREFERENTIAL PROCUREMENT REGULATIONS, 2022

- GENERAL CONDITIONS

  - The following preference point systems are applicable to invitations to tender:

- the 80/20 system for requirements with a Rand value of up to R50 000 000 (all applicable taxes included); and

- the 90/10 system for requirements with a Rand value above R50 000 000 (all applicable taxes included).

  - To be completed by the organ of state

(delete whichever is not applicable for this tender).

- The applicable preference point system for this tender is the 90/10 preference point system.

- The applicable preference point system for this tender is the 80/20 preference point system.

- Either the 90/10 or 80/20 preference point system will be applicable in this tender. The lowest/ highest acceptable tender will be used to determine the accurate system once tenders are received.

  - Points for this tender (even in the case of a tender for income-generating contracts) shall be awarded for:

- Price; and

- BBBEE

  - To be completed by the organ of state:

The maximum points for this tender are allocated as follows:

|  | POINTS |
| --- | --- |
| PRICE | 80 |
| BBBEE | 20 |
| Total points for Price and BBBEE | 100 |

  - Failure on the part of a tenderer to submit proof or documentation required in terms of this tender to claim points for specific goals with the tender, will be interpreted to mean that preference points for specific goals are not claimed.

  - The organ of state reserves the right to require of a tenderer, either before a tender is adjudicated or at any time subsequently, to substantiate any claim in regard to preferences, in any manner required by the organ of state.

- DEFINITIONS

- “tender” means a written offer in the form determined by an organ of state in response to an invitation to provide goods or services through price quotations, competitive tendering process or any other method envisaged in legislation;

- “price” means an amount of money tendered for goods or services, and includes all applicable taxes less all unconditional discounts;

- “rand value” means the total estimated value of a contract in Rand, calculated at the time of bid invitation, and includes all applicable taxes;

- “tender for income-generating contracts” means a written offer in the form determined by an organ of state in response to an invitation for the origination of income-generating contracts through any method envisaged in legislation that will result in a legal agreement between the organ of state and a third party that produces revenue for the organ of state, and includes, but is not limited to, leasing and disposal of assets and concession contracts, excluding direct sales and disposal of assets through public auctions; and

- “the Act” means the Preferential Procurement Policy Framework Act, 2000 (Act No. 5 of 2000).

- FORMULAE FOR PROCUREMENT OF GOODS AND SERVICES

  - POINTS AWARDED FOR PRICE

3.1.1   THE 80/20 OR 90/10 PREFERENCE POINT SYSTEMS

A maximum of 80 or 90 points is allocated for price on the following basis:

# 80/20	or	90/10

Ps=801-Pt-PminPmin	or	Ps=901-Pt-PminPmin

Where

Ps	=	Points scored for price of tender under consideration

Pt	=	Price of tender under consideration

Pmin	=	Price of lowest acceptable tender

  - FORMULAE FOR DISPOSAL OR LEASING OF STATE ASSETS AND INCOME GENERATING PROCUREMENT

    - POINTS AWARDED FOR PRICE

A maximum of 80 or 90 points is allocated for price on the following basis:

# 80/20	               or	            90/10

Ps=801+Pt-PmaxPmax	or	Ps=901+Pt-PmaxPmax

Where

Ps	=	Points scored for price of tender under consideration

Pt	=	Price of tender under consideration

Pmax	=	Price of highest acceptable tender

- POINTS AWARDED FOR SPECIFIC GOALS

  - In terms of Regulation 4(2); 5(2); 6(2) and 7(2) of the Preferential Procurement Regulations, preference points must be awarded for specific goals stated in the tender. For the purposes of this tender the tenderer will be allocated points based on the goals stated in table 1 below as may be supported by proof/ documentation stated in the conditions of this tender:

  - In cases where organs of state intend to use Regulation 3(2) of the Regulations, which states that, if it is unclear whether the 80/20 or 90/10 preference point system applies, an organ of state must, in the tender documents, stipulate in the case of—

- an invitation for tender for income-generating contracts, that either the 80/20 or 90/10 preference point system will apply and that the highest acceptable tender will be used to determine the applicable preference point system; or

- any other invitation for tender, that either the 80/20 or 90/10 preference point system will apply and that the lowest acceptable tender will be used to determine the applicable preference point system,

then the organ of state must indicate the points allocated for specific goals for both the 90/10 and 80/20 preference point system.

Table 1: Specific goals for the tender and points claimed are indicated per the table below.

(Note to organs of state: Where either the 90/10 or 80/20 preference point system is applicable, corresponding points must also be indicated as such.

Note to tenderers: The tenderer must indicate how they claim points for each preference point system.)

| The BBBEE allocated points in terms of this tender | Number of points allocated (90/10 system) (To be completed by the organ of state) | Number of points allocated (80/20 system) (To be completed by the organ of state) | Number of points claimed (90/10 system) (To be completed by the tenderer) | Number of points claimed (80/20 system) (To be completed by the tenderer) |
| --- | --- | --- | --- | --- |
| Level 1 | 10 | 20 |  |  |
| Level 2 | 8 | 16 |  |  |
| Level 3 | 5 | 10 |  |  |
| Level 4 | 4 | 8 |  |  |
| Level 5 | 3 | 6 |  |  |
| Level 6-8 | 0 | 0 |  |  |

DECLARATION WITH REGARD TO COMPANY/FIRM

  - Name of company/firm…………………………………………………………………….

  - Company registration number: …………………………………………………………...

  - TYPE OF COMPANY/ FIRM

Partnership/Joint Venture / Consortium

One-person business/sole propriety

Close corporation

Public Company

Personal Liability Company

(Pty) Limited

Non-Profit Company

State Owned Company

[Tick applicable box]

  - I, the undersigned, who is duly authorised to do so on behalf of the company/firm, certify that the points claimed, based on the specific goals as advised in the tender, qualifies the company/ firm for the preference(s) shown and I acknowledge that:

- The information furnished is true and correct;

- The preference points claimed are in accordance with the General Conditions as indicated in paragraph 1 of this form;

- In the event of a contract being awarded as a result of points claimed as shown in paragraphs 1.4 and 4.2, the contractor may be required to furnish documentary proof to the satisfaction of the organ of state that the claims are correct;

- If the specific goals have been claimed or obtained on a fraudulent basis or any of the conditions of contract have not been fulfilled, the organ of state may, in addition to any other remedy it may have –

  - disqualify the person from the tendering process;

  - recover costs, losses or damages it has incurred or suffered as a result of that person’s conduct;

  - cancel the contract and claim any damages which it has suffered as a result of having to make less favourable arrangements due to such cancellation;

  - recommend that the tenderer or contractor, its shareholders and directors, or only the shareholders and directors who acted on a fraudulent basis, be restricted from obtaining business from any organ of state for a period not exceeding 10 years, after the audi alteram partem (hear the other side) rule has been applied; and

  - forward the matter for criminal prosecution, if deemed necessary.

……………………………………….

SIGNATURE(S) OF TENDERER(S)

SURNAME AND NAME:	 ……………………………………………………….

DATE:			………………………………………………………

ADDRESS:		………………………………………………………

………………………………………………………

………………………………………………………

………………………………………………………

# TERMS OF REFERENCE

# APPOINTMENT OF A SERVICE PROVIDER FOR THE MAINTENANCE OF A SOLAR PV SYSTEM AT NEDLAC HOUSE.

- INTRODUCTION

The National Economic Development and Labour Council (Nedlac) is a statutory body that was established through Nedlac Act No. 35 of 1994 and operates under the terms of its own Nedlac Constitution. Nedlac’s vision is to promote growth, equity and participation through social dialogue.

- BACKGROUND

  - Nedlac has installed a solar PV system to provide backup power to the server room and guard house during power disruptions.  Regular maintenance of this system is essential to ensure system reliability and long-term performance.

The objective of this exercise is to ensure continuous and efficient operation of the solar PV system, minimise energy generation losses through routine servicing and respond to system issues and faults when reported.

- PURPOSE

The purpose of these terms of reference is to source services of a reputable and experienced service provider with expertise in the maintenance of solar PV systems to undertake the maintenance of the solar PV system that is installed at Nedlac House, over a period of 36 months (3 years).

- SCOPE OF WORK

  - The service provider is expected to provide the following services:

4.1.1 Bi-Annual Preventative Maintenance

- Conduct visual inspection of all components (panels, inverter/s mounting structures, wiring and others.

- Clean solar panels using appropriate industry approved methods and materials.

- Test and monitor inverter’s functionality and update software as and when updates are required.

- Inspect cabling for signs of damage, corrosion and wear.

- Check DC and AC isolators, fuses, breakers and surge protectors.

- Verify system grounding and earthing connections.

- Perform battery system checks – charge levels, connections and condition.

- Evaluate overall system performance.

4.1.2 Bi-Annual Corrective Maintenance

- Perform fault diagnosis and resolution in response to alerts, system failures and underperformance.

- Provide 24-hour onsite intervention for reported faults.

- Replace faulty components.

- Provide reports on root cause analysis and corrective action taken.

- Provide bi-annual maintenance reports with recommendations.

- Provide notification of any required system upgrades.

- Provide maintenance schedule for Nedlac’s approval.

- Issue Nedlac with warranty for work done and guarantee on spare parts and related components installed/used.

4.2 Service providers must attend a compulsory site visit prior to quoting.

The site visit is scheduled as follows:

Date:  06 August 2025

Time/s: 12h00-13h00

- REQUIREMENTS OF THE SERVICE PROVIDER

  - The successful service provider must meet the following mandatory requirements:

- Be a registered entity with a minimum of five years’ experience in the installation and maintenance of solar PV systems.

- Provide proof of a minimum of five years’ experience in the installation and maintenance of solar PV systems.

- Allocate qualified technicians with PV and electrical compliance certificates.

- Provide certified copies of qualifications of technicians who will be allocated to this project.

- Provide a detailed maintenance plan specific to this project.

- Submit proof of a minimum of five (5) similar projects with client name, description of the project, value of contract, period which the project was performed, reference letters and contact details of the clients.

- Provide proof of up-to-date CIDB contractor grading of 1EP or higher.

- Provide an up-to-date letter of good standing with COIDA.

- SUBMISSION OF DOCUMENTS

  - In addition to the requirements of 5.1 above, service providers must submit the following documents:

    - Proof of CSD registration.

    - Completed SBD forms.

    - Valid BBBEE certificate or sworn affidavit.

- EVALUATION AND SELECTION CRITERIA

  - Evaluation Criteria

The following evaluation criteria will be utilised:

5= Excellent, 4 = Good, 3 = Satisfactory, 2 = Poor, 1= Unacceptable, 0 = Non-compliant

The matrix below will be used in scoring the submissions:

| What is required | Application of evaluation criteria | % Allocation |
| --- | --- | --- |
| Proof of experience in the installation and maintenance of solar PV systems. Submitted reference letters to be used to confirm proof of experience. | 5 = nine and above and above years’ experience 4 = six to eight years’ experience 3 = five years’ experience 2 = three to four years’ experience 1 = two years’ experience 0 = no experience | 30% |
| What is required | Application of evaluation criteria | % allocation |
| Work performance on five (5) similar assignments successfully completed, supported by signed reference letters from contactable refences with description of the project, value of contract, period which the project was performed. | 5 = 5 successfully completed projects, signed reference letters, project description, value and period. 4 = 4 successfully completed projects, signed reference letters, project description, value and period. 3 = 3 successfully completed projects, signed reference letters, project description, value and period. 2 = 2 successfully completed projects, signed reference letters, project description, value and period. 1 = 1 successfully completed project, signed reference letters, project description, value and period. 0 = no proof of successfully completed projects, signed reference letters, project description, value and period. | 35% |
| Provide a detailed maintenance plan specific to this project. The plan should also include an outline on how corrective maintenance will be carried out. | 5 = maintenance plan covers preventative and corrective maintenance with tasks outline, including plan for contingencies and potential mitigation measures. 4 = maintenance plan covers preventative and corrective maintenance with tasks outline and potential mitigation measures. 3 = maintenance plan covers preventative and corrective maintenance with tasks outline. 2 = maintenance plan covers preventative maintenance only, with tasks outline. 1 = maintenance plan covers preventative maintenance only, with no tasks outline. 0 = No detailed service/maintenance plan specific to this project. | 35% |

7.2 Selection Criteria

7.2.1 Service providers that attain a minimum score of 75% on functionality will be

evaluated further for price and specific goals.

7.2.2 The final decision and successful appointment will be made by Nedlac and no

correspondence will be entered into thereafter.

7.2.3 Nedlac reserves the right to cancel this bid or ultimately decide not to appoint

any service provider in terms of this call for quotations.

7.2.4 Service providers must be ready and available to commence work immediately

after appointment.

- BID SUBMISSION AND ENQUIRIES

  - Service providers should send their completed quotations and accompanying

relevant documentation to sibongile@nedlac.org.za by 15 Aug 2025 at 11h00.

  - Note that no late proposals will be considered.

  - Technical enquiries regarding these Terms of Reference should be emailed to

Sharlotte Kopano van Rooyen at sharlotte@nedlac.org.za.

  - Procurement enquiries regarding these terms of reference should be emailed to

sibongile@nedlac.org.za

- PAYMENT TERMS

9.1   Payments will be made within 30 days from receipt of invoice and against

presentation of satisfactory deliverables as will be agreed upon on appointment of

the successful bidder/service provider.

- CIDB CONDITIONS

- “It is estimated that tenderers must have a CIDB contractor grading designation of 1EP or higher”

- “Only those tenderers who are registered with the cidb, or are capable of being so prior to the evaluation of submissions, in a contractor grading designation equal to or higher than a contractor grading designation determined in accordance with the sum tendered, or a value determined in accordance with Regulation 25 (1B) or 25(7A) of the Construction Industry Development Regulations, for a 1EP Or higher class of construction work, are eligible to have their tenders evaluated.

Joint ventures are eligible to submit tenders provided that:

1. every member of the joint venture is registered with the cidb;

2. the lead partner has a contractor grading designation in the 1EP or higher class of construction work; or not lower than one level below the required grading designation in the class of works construction works under considerations and possess the required recognition status.

3. the combined contractor grading designation calculated in accordance with the Construction Industry Development Regulations is equal to or higher than a contractor grading designation determined in accordance with the sum tendered for a 1EP or higher class of construction work or a value determined in accordance with Regulation 25 (1B) or 25(7A) of the Construction Industry Development Regulations.

“CIDB standard conditions of tender (Annex C) applies to this procurement and is attached”

the power, by one person or a group of persons holding the majority of the equity of an enterprise, alternatively, the person/s having the deciding vote or power to influence or to direct the course and decisions of the enterprise.

Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.